Heater Module Questionnaire

Establishment …………………………………..……………. Contact Name ... ………………………………..…. Address : …………………………………………………………………………………………………………………………………… Telephone Number ………..………… Email address ……… ……………………..

What is the application?

What size / shape are the samples / wafers? Sample sizes 1” 2” 3” 4” 5” 150mm 200mm Other Sample shape Round Square …………………………. (Dimensions) Does sample have it’s own holder? No Yes Details/Type ……………………………. Is the sample ‘self-supporting’? Yes No Details …………………………………….. Other sample detail ………………………………………………………………………………………………………………………. ……………………………………………………………………………. (please specify / if possible provide a drawing)

What are the sample materials?

What orientation will the plane of the sample be relative to the system mounting flange? Parallel to system mounting flange (please continue with this form) Perpendicular (90˚) to system mounting flange (please contact us for suitable options)

Heater stage & sample orientation? Stage mounted on top of a chamber with sample facing down Stage mounted underneath a chamber with sample facing up Stage mounted on the side of a chamber Other………………………………………………………………………………………… (please specify)

What is the systems ultimate pressure requirement?

What maximum temperature (T˚C) do you wish to heat the samples to in vacuum?

For how long will the sample be heated at this maximum temperature?

What type of thermocouples do you require? Type ‘C’ T/C (W/Re) for T>1200˚C Type ‘K’ T/C (Cr/Al) for T<1200˚C

If gases or vapours are involved with your process, please state the gases used, their maximum partial pressures, the temperature at this pressure, and the time for this part of the process:- GAS PARTIAL PRESSURE (mbar) TEMPERATURE AT THIS PRESSURE TIME AT THIS TEMEPARTURE AND PRESSURE 1 2 3 4 5 6 See also – UHV Design document on Graphite Heater Erosion in O2 – for reference

Are any of the following incompatible with your process: - Tantalum Molybdenum Stainless steel Copper Aluminium Other …………………………………………………………………………………………………………… (please specify)

Additional comments, requirements, sketches and information?